## Slide 1: LADS Information Model Bruker MPA III - FT-NIR Multi Purpose Analyzer
Dr. Matthias Arnold November 2024

## Slide 2: Bruker MPA III - FT-NIR Multi Purpose Analyzer
FT-NIR-Device
Program Manager
Carousel Controller
FT-NIR-Unit

## Slide 3: Bruker MPA III – Carousel Controller
Carousel Controller MultiStateDiscreteControlFunctionType

## Slide 4: Carousel Controller - Initialization

## Slide 5: Carousel Controller - Execution

## Slide 6: Carousel Controller - Execution

## Slide 7: Program Manager
Program Manager
FT-NIR-Unit

## Slide 8: Program Manager - Initialization

## Slide 9: Program Manager – Starting Execution

## Slide 10: Program Manager - Executing

## Slide 11: Program Manager - Results

## Slide 12: Thank You!
https://opcfoundation.org/markets-collaboration/lads/
https://www.spectaris.de/en/association/thespectarisindustries/networked-laboratory-equipment/
https://www.linkedin.com/company/LADS-OPC-UA/
https://www.linkedin.com/Dr-Matthias-Arnold/
https://opcfoundation-events.com/2023/05/12/opc-day-international-2023/#arnold Allotrope Connect Keynote: https://www.youtube.com/watch?v=l7jXcO0QH7Y
M.Arnold@AixEngineers.de
Notes: Thank you very much for your interest in LADS OPC UA ,
The Laboratory and Analytical Device Standard
I’m happy to receive your feedback, discuss your comments and answer your questions.